## Slide 1: PA Compression Test User Guide
Nick Lalic
VNA Software Developer
Rohde & Schwarz North America
March 30th, 2016

## Slide 2: SCHEMATIC – Full Two Port
Pin
Pout
DUT S(f, Pin)
S1
a1
b1
Power Cal. Plane
Calibration Planes
Port1
S2
a2
b2
Port2
Driver

## Slide 3: SCHEMATIC – One Path Two Port
DUT S(f, Pin)
S1
a1
b1
Calibration Planes
Port1
S2
a2
b2
Port2
Driver
Power Cal. Plane

## Slide 4: STEPS:
Physical setup (see schematic, photo)
ZVAX configuration for calibration
  Pulse modulator on
  Trigger high
  One path two port cal
  Power cal (with offset)
ZVAX configuration for pulsing
  Pulse modulator on
  Pulse settings
  Trigger measurement: point
  Trigger delay
For RF Off between measurements:
  Reduce RF power between sweeps

## Slide 5: Contact
Rohde & Schwarz contacts:
      Nick Lalic VNA Software Developer
      San Francisco, CA
      +1 (424) 200-2846 nick.lalic@rsa.rohde-schwarz.com
      http://vna.rs-us.net
      Greg Bonaguide Senior Product Line Engineer
      Spectrum Analyzers
      Vector Network Analyzers
      Northeastern Region
      +1 (774) 2820028 greg.bonaguide@rsa.rohde-Schwarz.com