## Slide 1: PA Compression Test Software Improvements for M/A-COM
Nick Lalic
VNA Software Developer
August 17th, 2015

## Slide 2: PA Compression Test
M/A-COM Requested improvements:
  Plot Phase vs Pin, Pout
  Reference compression to gain expansion (max. gain)
  Continuously update results during measurement
  Stop power at compression (overdrive protection)
  Accommodate pulsed power

## Slide 3: PA Compression Test Software Current capability

## Slide 4: PA Compression Test
Current version of the software:
  Run on/off instrument
  Connect via VISA (Ethernet, GPIB)

## Slide 5: PA Compression Test
Current version of the software:
  Measurement settings

## Slide 6: PA Compression Test
Current version of the software:
  Generate common plots
  Print to PDF

## Slide 7: PA Compression Test
Current version of the software:
Open/Save
  Reload results into application to generate plots later
Export data
  CSV, Touchstone files of data

## Slide 8: PA Compression Test Software Improvements

## Slide 9: PA Compression Test
In progress:
  Calculate compression from Maximum Gain (Gain expansion)

## Slide 10: PA Compression Test
In progress:
  Customize traces, axes in plots

## Slide 11: PA Compression Test
In progress:
  Customize traces, axes in plots
  Add/Remove traces
  Left/Right Y-Axis
  Y Parameters:
    Input Reflection, Gain, Reverse Gain, Output Reflection, Pin, Pout
  Y Formats:
    dB, mag, deg, rad, VSWR, dBm
  X Parameter:
    Frequency, Pin
  At:
    Fixed (custom) Pin value
    Fixed (custom) Frequency
    Compression
    Maximum Gain

## Slide 12: PA Compression Test
In progress:
Continuous compression data update
  Display results as sweeps are completed
Stop at compression point (overdrive protection)
  If compression is reached before Stop Power, stop the sweep
  Still researching best (fastest) way to implement this
Accommodate pulsed RF measurements
  User configures VNA for pulsed RF measurement
  Application detects pulsed RF conditions
  Measurement sweeps use current triggers, timing

## Slide 13: PA Compression Test
Timeline:
  Free select plots – This week (8/21)
  Gain expansion – This week (8/21)
  Continuously update results – Next week (8/28)
  Overdrive protection – One month
  Pulsed RF – 1-2 months